| Energy Project Decision Matrix |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Proposed Energy Efficiency Project | Energy Cost Savings (1 to 5) | Cost of Implementation (1 to 5) | Payback Period (1 to 5) | Necessary to Meet Regulatory Requirements (1 to 5) | Necessary to Meet Level of Service Goals (1 to 5) | Availability of Advantageous Funding (1 to 5) | Operational Feasibility (1 to 5) | Part of a Larger Project (1 to 5) | Total Score |
| Energy Cost Savings: Current energy cost - future energy cost; high energy savings = 5 points, low energy savings = 1 point |  |  |  |  |  |  |  |  |  |
| Cost of Implementation: Total cost of the project; low cost = 5 points, high cost = 1 point |  |  |  |  |  |  |  |  |  |
| Payback Period: Number of years required to pay for the project with energy cost savings; low number of years = 5 points, high number of years = 1 point |  |  |  |  |  |  |  |  |  |
| Necessary to Meet Regulatory Requirements: If needed to meet current regulatory requirement = 5 points, anticipated requirement = 3 points, no requirement = 1 point |  |  |  |  |  |  |  |  |  |
| Necessary to Meet Level of Service Goals: If needed to meet a level of service goal, such as energy reduction or greenhouse gas emissions goals = 5 points, no LOS = 1 point |  |  |  |  |  |  |  |  |  |
| Availability of Advantageous Funding: If the project can be funded with existing internal sources or there is a good external source, such as a tax rebate or grant = 5 points, No advantageous funding = 1 point |  |  |  |  |  |  |  |  |  |
| Operational Feasibility: If the project can be operated within the capabilities of the existing staff = 5 points, if considerable operational change is required = 1 point |  |  |  |  |  |  |  |  |  |
| Part of a Larger Project: If the energy efficiency project is part of a larger project = 5 points, stand alone project = 1 point |  |  |  |  |  |  |  |  |  |
| Total Score: The energy efficiency projects with the highest scores are the most advantageous to the utility |  |  |  |  |  |  |  |  |  |

Capital Improvement Plan

| Year | Project Name | Project Description | Project Need | Year Project Needed | Date Flexible (Y or N) | Estimate of Project Cost | Method of Estimation | Potential Funding Source | Changes in Operations | Impact of Project on LOS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Repair and Replacement Schedule

| Year | Item | Brief Description | Estimated Cost | Method of Estimation | One Time or Recurring | Time Period of Reoccurrence |
| --- | --- | --- | --- | --- | --- | --- |

Business Case Evaluation Worksheet

Project Name:

Project Description:

Need for Project:

Benefits as a Result of the Project:

Risk of Not Doing Project:

Current Asset Condition:

Estimated Useful Life of Asset:

Probability of Failure:

Consequence of Failure:

Current O&M of Existing Asset:

Capital Cost of Proposed Project:

O&M of Proposed Project on an annual basis:

What options are there for O&M to be used to delay the need for the project?

What alternatives were evaluated?

Business Case Evaluation Worksheet—pg. 2

The following action is recommended:

___ Project should go forward in this year’s CIP.

___ Project should be delayed until __________ year’s CIP.

___ Insufficient Information; project should be resubmitted when additional information is provided.

___ Alternatives require further investigation; more work required before re-submittal.

___ Alternative __________________________________ should be selected, not the project that 	  	 was submitted; redo with this alternative.

___ Additional O&M is recommended; project should be delayed ____________ years.

___ Project should not go forward; project is unnecessary and asset should be run to failure and

abandoned.